FOOD PLAN REVIEW GUIDE

Every newly proposed food operation and every currently or previously licensed operation must submit plans to the Jefferson County General Health District (JCGHD) whenever planning construction, building, remodeling, or installation of new facilities and/or equipment. Additionally, as licenses are not transferable, no license can be issued until plans have been submitted and approved when a change of ownership is planned. This guidance is intended to assist you in preparing your plans and is based on the Ohio Uniform Food Safety Code. As an operator, you are encouraged to obtain a copy of the Ohio Uniform Food Safety Code for specific provisions. This code is available online at

www.odh.state.oh.us  and is Chapter 3717-1 Ohio Administrative Code (OAC). Additionally, the JCGHD can provide with a copy of the Ohio Uniform Food Safety Code at no cost.

You are required by law to obtain approval of your food plans prior to starting construction (or remodeling, or installing/providing equipment) of the job. Please allow time for the plan review. Plans will be acted upon within thirty (30) days after the date of receipt. Please note that if plans are incomplete or insufficient, it can take longer than thirty (30) days for plans to become approved. When plans are approved/disproved you will receive a letter stating what is still needed or that you are approved and ready for a pre-license inspection.

Plan approval is based on the Risk Level of your proposed operation. There are four risk levels which are based on your menu and food preparation procedures. The simpler the menu and procedures, the less likely the opportunity for inadvertently causing a foodborne illness and consequently your operation will be licensed at a lower Risk Level. The Risk Levels are I, II, III, IV. There are also Low and High Risk Mobile Licenses. That information can be found in our Mobile Food Service packet.

The Plumbing system is an important part of your food facility. All facilities must have a hand sink, mop sink, 3 compartment sink, grease trap, backflow prevention device, and a prep sink, with some exceptions. Please note that all hand sinks in the food prep area and restroom that do not have a combination faucet, must have a mixing valve. There must be air gaps on dishwashers, ice machines and prep sinks, etc. Any plumbing work must be done by a state certified plumber.

Prior to a Food Service Operation or Retail Food Establishment License being issued, you will be required to provide copies of inspections/approvals from other agencies as follows:

1. If your building is not connected to a public water supply, you will need to provide approval of your transient public water system from the Ohio Environmental Protection Agency, Division of Drinking and Ground Water.

2. If your building is not tapped into a public sewer system, you will need to provide approval of your sewage treatment disposal system from the Ohio Environmental Protection Agency, Division of Surface Water.

3. Verification of Level I and Level II food training. Any new facility (Risk Level I, II, III, and IV) opening after March 1, 2010 will need to have at least one person-in-charge certified in food protection training at all times of operation.

As of March 1, 2017 each risk level III and risk level IV food service operation and retail food establishment will be required to have one employee, who has supervisory and management responsibility and the authority to direct and control food preparation and service, with the level two certificate.

You must have your plans approved, fees paid, and pass the pre-licensing inspection prior to issuance of your Food Service Operation or Retail Food Establishment License. Please note that the JCGHD may place restrictions or conditions on a license. At the pre-licensing inspection, your facility must be in operable condition. Food is not required on the premises; however, hot and cold holding equipment must be operating. If you have any questions, please contact the JCGHD at 740-283-8530.

Contents and Format of Plans and Specifications

- Provide plans that are a minimum of 11x14 inches in size including the layout of the floor plan accurately drawn of a minimum of ¼ inch = 1 foot. This is to allow for ease in reading plans.

- Label and locate separate food preparation sinks when the menu dictates to preclude contamination and cross-contamination of raw and ready-to-eat foods.

- Clearly designate adequate handwashing lavatories for each toilet fixture and in the immediate area of food preparation.

- On the plan represent auxiliary areas such as storage rooms, garbage rooms, toilets, basements and/or cellars used for storage or food preparation. Show all features of these rooms as required by this guidance manual.

- Plan must include the entire premises: roads, entrances, exits, parking, etc.

- Plan must include ALL building materials and finishes.

- Include and provide specifications for:

  - Plumbing schedule including location of floor drains, floor sinks, water supply lines, overhead waste-water lines, hot water generating equipment with capacity and recovery rate, backflow prevention, and waste-water line connections;

  - Lighting schedule with protectors as well as FULL lighting plan;

A least 110 lux (10 footcandles) at a distance of 75 cm (30 inches) above the floor, in walk-in refrigeration units and dry food storage areas and in other areas and rooms during periods of cleaning;

At least 220 lux (20 footcandles):

1. At a surface where food is provided for consumer self-service such as buffets and salad bars or where fresh produce or packaged foods are sold or offered for consumption;

2. Inside equipment such as reach-in and under-counter refrigerators;

3. At a distance of 75cm (30 inches) above the floor in areas used for handwashing, warewashing, and equipment and utensil storage, and in toilet rooms;

At least 540 lux (50 foot candles) at a surface where a food employee is working with

food or working with utensils or equipment such as knives, slicers, grinders, or saws where employee safety is a factor.

c. Food Equipment schedule to include make and model numbers and listing of equipment that is certified or classified for sanitation by an ANSI accredited certification program. Certification can be looked up at http://www.nsf.org/Certified/Food/

d. Source of water supply and method of sewage disposal. Provide the location of these facilities and submit evidence that state and local regulations are complied with.

e. A mop sink or curbed cleaning facility with facilities for hanging wet mops;

f. Garbage can washing area/facility

g. Cabinets for storing toxic chemicals

h. Dressing rooms, locker areas, employee rest areas, and/or coat rack

- TOTAL square footage of entire facility.

JEFFERSON COUNTY General HEALTH District

FSO/RFE PLAN REVIEW APPLICATION

All new or existing remodeled food service operations (FSO) and retail food establishments (RFE) are required to submit prepared plans with specifications to the Jefferson County General Health District for approval before a license can be issued and food can be prepared and served. The following application must be filled out in its entirety and the appropriate fee submitted before plans will be accepted for review. When such plans are accepted by the J Jefferson County General Health District they shall be acted upon within thirty (30) days of receipt.

- Facility Information

Anticipated construction start date ___________   Anticipated opening date ____________

New Building (   )   Remodeled or existing business (   )

NAME OF OPERATION: __________________________________________________

ADDRESS OF OPERATION: _______________________________________________

OWNER OF OPERATION: _________________________________________________

PHONE NUMBER: _________________ E-Mail: _______________________________

TYPE OF OPERATION: Restaurant (   )  Caterer(    )   Retail (   )  Institution (   )  Daycare (   )

TYPE OF WATER SUPPLY:   community (   )    Private  (   )

TYPE OF SEWAGE DISPOSAL: Sanitary sewer (   )  semi-public septic (   )

System approved by OEPA? Y or N

I have submitted plans / applications to the following authorities on the following dates:

________ Plumbing _____ Fire _______ Zoning _____ Dept. of Commerce ______

Ohio EPA ________   Other ____________________________________________

Hours and Days of Operation:  M ___ T ___ W ___ TH ___ F ___ Sat ___ Sun ___

Square foot of facility ________Number of floors used for operation _________

RETURN

- Plan contents checklist

The plans and specifications submitted for approval to the Jefferson County General Health District shall be legible, drawn to scale and shall include the information below. Please indicate with a checkmark that ALL of the following are included in your plan packet, or indicate if not applicable (N/A).

_____ Menu or food list

_____Total square footage of area to be used for food service

_____ Floor plan of equipment, fixtures, and general layout of all areas used for food prep

(with Scale)

_____ Entrances and Exits

_____ Type of seating and seating capacity

_____List of all equipment including manufacturers and model numbers

_____ Commercial equipment only (no home style equipment is permitted)

_____ Location, number, and types of plumbing fixtures, including all water supply facilities

_____ Direct / indirect plumbing (i.e. air gaps) designation of all plumbing fixtures and

equipment Drains (e.g. sinks, drains, ice bins, dipper wells) dish machine. (high or Low

temp.) or 3compartment sinks available.

_____ Adequate number of hand sinks in food prep areas and throughout facility.

_____ Food preparation / vegetable washing sink.

_____ Mop / utility sink

_____ Hand sinks in restrooms

_____ Grease interceptor, capacity, location

_____ Backflow prevention devices

_____Plan of natural and artificial lighting {lighting plan} (must be > 50 foot candles in food            prep areas).

_____ Building materials and surface finishes to be used, include trade names and

manufacturer: tile, stainless steel,4” plastic coved molding etc.

_____ Floors

_____ Walls

_____ Ceilings (washable, i.e. vinyl coated tiles)

_____ Ventilation / HVAC specifications

_____ Hood at grill line (ANSI Approved suppression system)

_____ Hood at high temperature dish machines

_____ Adequate and separate storage space / Shelving for food products, chemicals, etc.

(all food must be stored 6” off the floor at all times).

_____ Designated location for garbage dumpster

_____ Plan must include entire premises, surrounding roads etc.

_____ Two sets of identical plans with all the above information submitted.

RETURN

- CONSTRUCTION/REMODELING SHEET

PROJECT NAME

BUSINESS:

STREET:

CITY:

STATE:

ZIP:

PHONE:

CELL:

FAX:

EMAIL:

Additional information as needed

RETURN

- APPROVALS

DEPARTMENTS                                                                                 Required Signatures

Department of Industrial Relations			         DATE          APPROVED BY WHOM

Division of Factory & Building inspections                                                                                                                               P.O. Box 825                                                                                                                                                                      Columbus, Ohio 43216                                                                                                                                                               And / or local building inspector                                                                                                                                                                                                                                                                                                                                               (614)-644-2223                                                                         ________       _____________________

Inside City Limits Of Steubenville                                                                                                                       Steubenville City Building Inspector                                                                                                                                                                                                                                                                                                                                                                    (740)-283-6000                                                                        ________        _____________________

Jefferson County Plumbing Inspector                                                                                                                                         500 Market Street 6th Floor                                                                                                                                         Steubenville, Ohio 43952                                                                                                                                                         (740) 283-8530                                                                        ________         _____________________

Fire Prevention Local Fire Department                              ________         ____________________

Jefferson County General Health District

Environmental Division, Registered Sanitarian                                                                                                                        500 Market Street 6th Floor                                                                                                                                            Steubenville, Ohio 43952                                                                                                                                                                           (740) 283-8530                                                                        ________         _____________________

REMINDER: Plans that are missing any of the above information will be considered incomplete and the approval process will be delayed. After thirty (30) days, incomplete plans may be disapproved. A new application, fee and resubmittal of plans will be required.

If the agency provides you with a signed letter, that can be submitted in place of a signature on this page.

RETURN

- FOOD SAFETY EDUCATION

Are any employees certified in food safety?      Yes   or    No

If YES, please provide names and indicate courses taken (e.g. ServSafe, Person in Charge):

If NO, please refer to a schedule of courses offered by ServSafe (www.ServSafe.com  or  412-337-2153).

Note: there must be at least one person in charge per shift who can demonstrate understanding of the Ohio Food Code.

I am submitting a completed plan review packet, including two sets of plans, all required information, and the appropriate fee as determined above. I understand that incomplete plans may delay the opening of my facility.

Applicant: __________________________________   Date: ____________________________

RETURN

- MENU OR FOODS BEING SERVED

BUSINESS:     _________________________        OWNER:  _______________________________

STREET:         __________________________      STREET:    ______________________________

CITY:              __________________________      STREET:     ______________________________

STATE:           __________________________      STATE:       ______________________________

ZIP:                 _________________________        ZIP:             ______________________________

PHONE:         ______________________              PHONE:       _____________________________

LIST COMPLETE MENU OR FOODS BEING SERVED

If you have a printed menu with the required information below, you may submit that is place of this form.

RETURN

- FSO &RFE EQUIPMENT LIST

| BUSINESS: | OWNER: |
| --- | --- |
| STREET: | STREET: |
| CITY: | CITY: |
| STATE: | STATE: |
| ZIP: | ZIP: |
| PHONE: | PHONE: |

| EQUIPMENT NAME | MODEL NUMBER # | NEW OR USED |
| --- | --- | --- |

If you have a cut sheet for equipment or another list of equipment with the above mentioned information, you may submit that in place of this form.

RETURN

- “STATEMENT OF OWNERSHIP FORM”

FOOD SERVICE OPERATION – RETAIL FOOD ESTABLISHMENT

I (We), ______________________________________, do here by declare that I, (We) will be the owner/operators of: _______________________________Which will be located at: _________________ here in Jefferson County, Ohio. I, (We) will be conducting this: ______ Food service operation, and/or_____ Retail Food Establishment.

SOLE PROPRIETOR NAME: __________________________________________ SIGNATURE: ______________________________________

PARTNERSHIP NAME: __________________________________________ SIGNATURE: ______________________________________ NAME: __________________________________________ SIGNATURE: ______________________________________

CORPORATION PRESIDENT NAME: _________________________________________ SIGNATURE: _____________________________________ VICE PRESIDENT NAME: __________________________________________ SIGNATURE: ______________________________________ SECRETARY/TREASURER NAME: __________________________________________ SIGNATURE: ______________________________________

I (We) do here by realize and understand should I or We discontinue operation, or have a change is business name, change in business location, change in business ownership, (sole Proprietor/Owner, Partnership/Operators, or Corporation/Operators) that I, we will and must immediately surrender the old Food Service Operation, or Retail Food Establishment license to the Jefferson County General Health District. Once the old license has been returned/ surrendered to the Jefferson County General Health District, the Health District will permit the new operators to reapply for a new license as a new business.

This application is complete and if the plans and specifications are approved, I will construct this facility in full compliance with them and in conformance to the Ohio Uniform Food Safety Code.

________________________________                     ________________________________

Signature of Owner                                                        Printed Name of Owner

________________________________                      ________________________________

Signature of Applicant (if different from above)        Printed Name of Applicant (if different from above)

************

Approval of these plans and specifications by this Regulatory Authority does not indicate compliance with any other code, law, or regulation that may be required—federal, state, or local. It further does not constitute endorsement or acceptance of the completed establishment (structure or equipment). A preopening inspection of the establishment with equipment in place & operational will be necessary to determine if it complies with the local and state laws governing food service establishments.

____________________________________       ______________________________________                                                                WITNESS NAME				        WITNESS SIGNATURE

____________________________________       ______________________________________

MY TERM EXPIRES				       SIGNATURE DATE